## Sheet1
Which role or roles best describe you? | How long have you worked or studied in the built environment, fire safety, or a related field? | The profession is too focused on demonstrating compliance and not focused enough on achieving real-world safety. | We rely on guidance because it is defensible, even when it is not the best expression of sound engineering judgement. | Public trust in fire safety decisions is weaker than the profession acknowledges. | Competence is assumed too readily, particularly when work is complex, novel, or safety-critical. | The industry is uncomfortable admitting uncertainty, so uncertainty is hidden behind precise-looking calculations. | We produce too much documentation and too little evidence that safety outcomes will actually be achieved. | What is the most damaging weakness in current fire safety practice? | What uncomfortable observation about fire engineering today would you most like the panel to confront? | Innovation in fire safety is often slowed more by professional and regulatory risk aversion than by technical limitations. | Professional judgement is undervalued when it cannot be reduced to a checklist or a standard calculation. | Industry rewards approaches that are easy to defend after an incident rather than approaches that best manage risk before one occurs. | Digital tools and AI will change fire engineering faster than professional institutions are prepared for. | A technically sophisticated model can create false confidence when the assumptions and input data are weak. | Which assumption most urgently needs to be challenged? | If doing so would lead to better decisions, where should the industry tolerate more uncertainty?" | Which future development is most likely to create a serious safety gap if the profession gets it wrong? | What is the one change you would make tomorrow to improve fire safety outcomes? | What question should the panel be required to answer? | Which topics deserve the most discussion time during the panel? | Final Provocation: Twenty years from now, what do you think today's fire safety engineering profession will be criticised for?
Fire engineer; | 5–10 years | Agree | Agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | We don't know enough but houses still need to be built. Often, to meet housing needs, we end up putting people at risk. | Agree | Agree | Agree | Strongly agree | Strongly agree | If a design complies, it is safe | Reasons for deviating from rules-based guidance. | Uncritical use of AI and automated design | Mandate voluntary work for all fire engineers on assessing and supporting safety work in existing social housing. | Are we moving in the right direction? | Safety in existing and high-rise buildings;Regulation, enforcement, and dutyholder responsibility;Risk communication and public trust; | How much money we deviated from other priorities in our society to be overconservative when dealing with fire risk.
Fire engineer; | 5–10 years | Agree | Agree | Strongly agree | Disagree | Disagree | Neither agree nor disagree | Over-reliance on rules-based guidance and mistaking compliance for safety |  | Agree | Strongly agree | Neither agree nor disagree | Strongly agree | Strongly agree | If a design complies, it is safe |  | Regulation failing to keep pace with innovation | Increase degrees in fire safety and make it a pre-requisite to fire engineering occupations. |  | Risk communication and public trust;Compliance versus genuine safety outcomes;Regulation, enforcement, and dutyholder responsibility;Testing, product performance, and evidence; | Lack of engineering judgement and pure reliance on guidance.
Fire engineer; | 11–20 years | Strongly agree | Strongly agree | Agree | Disagree | Agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Many fire engineers lack the competence to know when to step away from guidance, and many regulators lack the competence to know when this is a better solution | Agree | Agree | Agree | Strongly agree | Strongly agree | If a design complies, it is safe |  | Regulation failing to keep pace with innovation | Scrap the “presumption of legal conformity” within ADB |  | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement; | A disaster which is yet to happen
Fire engineer; | Less than 5 years | Agree | Agree | Agree | Agree | Agree | Agree | Inadequate testing, evidence, or research |  | Agree | Agree | Agree | Agree | Agree | Guidance can substitute for competence |  | Loss of practical expertise and competence |  |  | Competence, accountability, and professional judgement;AI, modelling, and digital innovation;Education, research, and the future workforce;Safety in existing and high-rise buildings; | I think we will be criticised for focusing too heavily on compliance, without sufficiently checking whether buildings are safe in practice. This could include overconfidence in modelling, limited attention to uncertainty, and inadequate checks on construction quality and long-term maintenance.
Academic or researcher; | 5–10 years | Agree | Strongly agree | Disagree | Agree | Strongly agree | Disagree | Over-reliance on rules-based guidance and mistaking compliance for safety | It is very unclear where much of our guidance comes from beyond just consensus and "magic numbers" - this has the knock-on effect of practicioners not having the information available to critique the underlying assumptions of specific pieces of guidance and therefore whether the guidance is applicable to their specific design case. Do you think this is something we should fix, and how? | Agree | Disagree | Agree | Strongly agree | Strongly agree | If a design complies, it is safe |  | Loss of practical expertise and competence |  |  | Climate resilience and emerging hazards;Education, research, and the future workforce; | Our industry not keeping up with hazards that are no longer emerging, but are present in the built environment (e-bikes, wildfires etc).
Fire engineer; | 5–10 years | Strongly agree | Agree | Agree | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Most fire engineers are hyper focused on compliance on paper and are uncomfortable when this is challenged. Examples I can draw on from my own experience - large circulation spaces which are to be sterile in the fire strategy. In reality, any building occupier will put things there. Fire engineers I've worked with are quick to say "well, they shouldn't". "You can't design against stupid". - fit out projects, fire engineers I've worked with are very quick to say "that area is base build fire strategy, not my responsibility". So yes your fire strategy is compliant, but it permits a certain occupier into the building, their safety is your responsibility. If there is risks outside your fit out, you should raise them. I think this will bother a lot of fire engineers who see "compliance" as their responsibility and "safety" as the responsibility of a fire risk assessor. | Strongly agree | Strongly agree | Strongly agree | Disagree | Strongly agree | Past fire performance predicts future performance | I'm not sure about "better decisions" but at least more efficient ones. I often find myself doing assessments on parts of buildings to close out uncertainty where the worst case possible scenario from the assessment would still not pose an unreasonable risk. So it is not an effective use of time and money. External walls are a good example of this, if I have ACM on the top floor of the building which is only on a plant room and all other external walls are masonry, the performance of that ACM will not change my conclusions for the building. Similarly, if I have an ACM covering all of the building, regardless of if it is class D or B, I would be recommending replacement with a class A product. But I am often asked for evidence of performance on these materials. I've always said fire engineering is a science of over prediction to ensure suitable safety factors, not one of precision. If we focus too much on reducing uncertainty, we risk lowering these inherent safety factors. | Large-scale refurbishment of existing buildings | Stop asking fire engineers if buildings are compliant, start asking them if they are safe. (Or in the case of existing buildings that cannot be closed for whatever reason, they are as safe as the possibly can be). | What does ethical fire engineering practice look like? | Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility;Risk communication and public trust;Safety in existing and high-rise buildings; | Looking at compliance instead of risk. I think we are making the housing crisis worse by not thinking about what we are doing in terms of risk.
Fire engineer; | More than 20 years | Agree | Disagree | Disagree | Strongly agree | Neither agree nor disagree | Neither agree nor disagree | Insufficient competence and poor communication of risk and uncertainty | More engineering occurs after a fire event than occurs prior to the event | Agree | Disagree | Agree | Neither agree nor disagree | Strongly agree | The most visible risks are the most important risks |  | Uncritical use of AI and automated design | Require more risk based approaches | How best to determine competence | Competence, accountability, and professional judgement; | Too much reliance on unsubstantiated codes
Fire engineer; | 5–10 years | Neither agree nor disagree | Neither agree nor disagree | Disagree | Strongly agree | Neither agree nor disagree | Disagree | Insufficient competence and poor communication of risk and uncertainty | Over-promotion in the industry due to high demand and low supply of fire engineers | Disagree | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | Agree | Guidance can substitute for competence | Balancing sustainability with fire safety objectives | Failure of product testing and performance claims | Tested details and full fire test reports openly shared with all professions. |  | Climate resilience and emerging hazards;Testing, product performance, and evidence; | N/A
Fire engineer; | 5–10 years | Agree | Neither agree nor disagree | Agree | Neither agree nor disagree | Strongly agree | Disagree | Insufficient competence and poor communication of risk and uncertainty |  | Agree | Agree | Neither agree nor disagree | Disagree | Strongly agree | If a design complies, it is safe |  | Uncritical use of AI and automated design |  |  | Compliance versus genuine safety outcomes;AI, modelling, and digital innovation;Risk communication and public trust; | Compliance
Fire engineer; | 5–10 years | Agree | Strongly agree | Neither agree nor disagree | Strongly agree | Disagree | Neither agree nor disagree | Insufficient competence and poor communication of risk and uncertainty | The future of assessed competence is unclear. There is an unease from those working in fire engineering that a “traditional fire engineering degree”, rather than a “relevant degree”, may be necessary as to demonstrate competency and qualify for the title of fire engineer that may otherwise alienate a large portion of the industry. To ask a rhetorical question “what degree do you need to be a dentist?” where it is naturally clear in other industries and where it is easy for the few that perhaps studied at edinburgh, etc to say including myself with respect to fire engineering as to draw a hard line; however, many talented individuals in the industry which may be competent through experience and self study. Why not move to a similar model as the CEng for IstructE where an exam 50% technical (technical calculations, fire dynamics, etc) and 50% qualitative judgement and communication of risk is the first option - pass the exam great; fail perhaps best placed for a degree. Albeit, this exam would need to be wholly independent from the academic institutions with close ties to fire engineering as to not create a conflict of interest that may otherwise see the exam manipulated as to push those with no traditional degree into further study. What is the expected method and levels of competency to be demonstrated moving forward and how? | Agree | Strongly agree | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | If a design complies, it is safe |  | Failure of product testing and performance claims | Direct access to field of applications and test reports to have full visibility of a products limitations against its end-use and interfacing as a system. Perhaps once the protection of title is achieved, this is something a fire engineer has power to do which inherently assumes impartiality and non-disclosure where manufacturers can be difficult in protecting their information. | See response to question 5 of this form. | Competence, accountability, and professional judgement; | Likely the same or similar issues. Fire engineering is only a discipline that is only getting just to around a century old if you are being generous. How old were architecture and structural engineering even before that?
Fire engineer; | 11–20 years | Agree | Agree | Disagree | Neither agree nor disagree | Strongly agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | The Building Safety Regulator does not pay well enough to get competent staff. They could earn significantly more in the private sector if they were capable. Much of the BSR would not be able to demonstrate the competence expected of designers. | Neither agree nor disagree | Strongly agree | Agree | Agree | Agree | The current regulatory model is fundamentally fit for purpose |  | Uncritical use of AI and automated design |  | Much of the recent changes to the fire safety guidance have been against the evidence. For example the governments own cost benefit analysis found no realistic benefit to the change to introduce two stairs. Is the recent increase to design and construction costs really justifiable when the country faces a huge housing supply shortfall. | Regulation, enforcement, and dutyholder responsibility; | I think many engineers coming through now do not get the opportunity to design buildings which deviate from the standard guidance and this will be an issue in coming years.
Fire engineer; | 5–10 years | Strongly agree | Strongly agree | Strongly agree | Agree | Agree | Strongly agree | Weak ownership by dutyholders and fragmentation between professions | -Difference in competencies and approach among different fire engineering competencies. The Structural or Mechanical engineering industry is more uniform. -Companies only focusing on revenue and cash as much as possible during these times of regulatory changes | Agree | Agree | Strongly agree | Strongly agree | Agree | If a design complies, it is safe |  | Uncritical use of AI and automated design | -Competency of individuals |  | Competence, accountability, and professional judgement;AI, modelling, and digital innovation;Regulation, enforcement, and dutyholder responsibility;Education, research, and the future workforce; | Just making money without delivering something real
Fire engineer; | 5–10 years | Agree | Agree | Agree | Agree | Strongly agree | Agree | Weak ownership by dutyholders and fragmentation between professions |  | Agree | Strongly agree | Agree | Agree | Strongly agree | Responsibility can be divided without being diluted |  | Regulation failing to keep pace with innovation |  |  | Regulation, enforcement, and dutyholder responsibility;Testing, product performance, and evidence;Risk communication and public trust;Education, research, and the future workforce; | Not enough uniformaty to how different countries and jurastictions and their approaches to fire safety
Fire engineer; | 11–20 years | Agree | Disagree | Neither agree nor disagree | Disagree | Agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | The changing societal acceptance (or perception) of "failure" - and how we measure that / account for it in design | Strongly agree | Strongly agree | Agree | Disagree | Agree | If a design complies, it is safe | It doesnt need to tolerate "more uncertainty", it just needs to accept that uncertainty exists and explicitly acknowledge & address this within designs. | Loss of practical expertise and competence | Make peer reviews more regular, standardised and welcomed, to encourage the overall development & betterment of the profession | What are you doing in your own careers to support the "risk based approach" recommended in the Hackitt Report? | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Risk communication and public trust; | Not using our competence to lead the industry / profession
Fire engineer; | 5–10 years | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Insufficient attention to existing buildings | Knowledge and sharing of resources, test data, competency. | Neither agree nor disagree | Strongly agree | Agree | Agree | Agree | Responsibility can be divided without being diluted |  | Large-scale refurbishment of existing buildings |  |  | Compliance versus genuine safety outcomes; | Being to conservative and stripping down cladding that is not that dangerous. Lack of focus on sustainability.
Fire engineer; | 5–10 years | Agree | Agree | Disagree | Strongly agree | Neither agree nor disagree | Agree | Insufficient competence and poor communication of risk and uncertainty |  | Strongly agree | Agree | Agree | Neither agree nor disagree | Agree | If a design complies, it is safe |  | Uncritical use of AI and automated design |  |  | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement; | Over specification leading to increased costs of building and therefore a downturn in house-building - worsening the housing crisis in the UK
Fire engineer; | Less than 5 years | Agree | Agree | Agree | Disagree | Disagree | Neither agree nor disagree | Over-reliance on rules-based guidance and mistaking compliance for safety |  | Agree | Neither agree nor disagree | Agree | Neither agree nor disagree | Strongly agree | The current regulatory model is fundamentally fit for purpose |  | Regulation failing to keep pace with innovation |  |  | Compliance versus genuine safety outcomes;Climate resilience and emerging hazards;Education, research, and the future workforce;Risk communication and public trust; | There's two related issues: over-reliance on guidance and regulations being too slow to keep up with new technology. Clients want the cheapest costing projects and they will not pay for additional fire safety provisions above those required by law. Engineers are then tasked with proving how a design is compliant with minimum guidance requirements rather than using engineering judgement and analysis. Additionally, with incidents like Grenfell Tower fire engineers have become aware that their work should be defensible. Guidance is defensible in court, a professional judgement is a lot more risky. A combination of clients wanting to minimise costs and fire engineers wanting to take the least risk results in over-reliance on guidance. Meanwhile, the guidance is informed by regulations which are far too slow to keep up with emerging technology and associated risks.
Fire engineer;Regulator; | 11–20 years | Neither agree nor disagree | Disagree | Neither agree nor disagree | Agree | Neither agree nor disagree | Disagree | Inadequate testing, evidence, or research |  | Disagree | Neither agree nor disagree | Disagree | Strongly agree | Agree | Past fire performance predicts future performance |  | Failure of product testing and performance claims |  |  | Risk communication and public trust; | Failing to learn from the mistakes of the past.
Fire engineer; | 11–20 years | Agree | Strongly agree | Neither agree nor disagree | Neither agree nor disagree | Disagree | Disagree | Over-reliance on rules-based guidance and mistaking compliance for safety |  | Strongly agree | Disagree | Agree | Neither agree nor disagree | Strongly agree | The most visible risks are the most important risks |  | Uncritical use of AI and automated design | Prohibit the use of any generative AI in works relating to anything safety-critical due to the abundance of confidently incorrect results and rampant use by individuals lacking competence to identify errors |  | Compliance versus genuine safety outcomes;AI, modelling, and digital innovation;Education, research, and the future workforce; | Reliance on compliance with prescriptive guidance rather than objectively demonstrating the safety of building design, despite the regulatory environment often making this the only viable method of gaining approval
Fire engineer;Academic or researcher; | 5–10 years | Disagree | Strongly agree | Neither agree nor disagree | Neither agree nor disagree | Agree | Agree | Weak ownership by dutyholders and fragmentation between professions | What level of detail is required from fire engineers when specifying a fire strategy? How much input should we provide into the design of sprinklers, alarms, structural details, etc. This is an uncomfortable area for fire engineers and other disciplines, as people don't want to be left holding too much responsibility, and the lines get murky. | Strongly agree | Agree | Strongly agree | Neither agree nor disagree | Strongly agree | More analysis always produces better decisions | I think we should spend more time on qualitative discussions of possible fire hazards and mitigation approaches, rather than spending a lot of time quantifying specific parts of a design that are more visible. | Large-scale refurbishment of existing buildings | All parties clearly aware of their roles and responsibilities. |  | Compliance versus genuine safety outcomes;Regulation, enforcement, and dutyholder responsibility; | Blocking re-use and recycling of existing buildings / systems.
Insurer; | More than 20 years | Agree | Agree | Strongly agree | Agree | Agree | Agree | Inadequate testing, evidence, or research | I would like them to explore "offside" - fire engineering often sticks within boundaries and offering compliance. However, when it strays "offside" into the realm of engineering with limited research or even less data it can do so with appreciating the consequence. I am not sure it is readily acknowledged or highlighted in terms of the risk. The "tethering" to a known concept or number can occur - but you are still "offside". We do not have a VAR system and the "referee/regulator" may know less about the rules then you think. What are we doing to act responsibly and deal with being "offside". | Disagree | Disagree | Disagree | Agree | Strongly agree | Past fire performance predicts future performance | I am not sure it is about tolerating more uncertainty. Personally I think it is about accepting and discussing uncertainty. The challenge though is often the same we have limited tolerance for these concepts as we wish the world to be digital. | Poor communication of risk to the public | Make the discussion on outcomes and what they look like from fire engineering design clear and require them to be discussed. Not compliance what the outcome will look like to the owner/tenants. | Fundamentally I think the question should be based on public perception and trust. The word that is missing is "trust". The sector has been subject to high profile incidents where a "fire engineer" has been found wanting. This is leaving that element of trust hanging - like most of the built environment sector. | Risk communication and public trust; | I think it will be criticized for a lack of professionalism.
Other; | 5–10 years | Agree | Agree | Neither agree nor disagree | Agree | Strongly agree | Agree | Insufficient attention to existing buildings |  | Agree | Agree | Agree | Neither agree nor disagree | Agree | If a design complies, it is safe |  | Failure of product testing and performance claims |  |  | Compliance versus genuine safety outcomes;Safety in existing and high-rise buildings;Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility;Testing, product performance, and evidence; | For using non compliant products / systems
Fire engineer; | 11–20 years | Agree | Agree | Agree | Neither agree nor disagree | Agree | Disagree | Weak ownership by dutyholders and fragmentation between professions |  | Strongly disagree | Agree | Agree | Strongly agree | Strongly agree | If a design complies, it is safe |  | Increasingly complex high-rise construction |  |  | Compliance versus genuine safety outcomes;AI, modelling, and digital innovation;Climate resilience and emerging hazards;Regulation, enforcement, and dutyholder responsibility; | Not getting enough talent in to the pipeline
Fire engineer; | 11–20 years | Strongly agree | Agree | Neither agree nor disagree | Disagree | Disagree | Strongly agree | Weak ownership by dutyholders and fragmentation between professions | Those speaking most loudly about competence are often not the most competence. | Agree | Disagree | Agree | Strongly agree | Agree | Guidance can substitute for competence | The approvals process - progress with some risk to get better and, in some cases, safer designs | Uncritical use of AI and automated design | Have a written exam for competence of both fire engineers and regulators | When did you last do a complex calculation yourself and how did you get this checked | Compliance versus genuine safety outcomes;AI, modelling, and digital innovation; | Accepting cookie cutter design and restricting innovation. Where is the competence demonstration in that!
Fire and rescue service;Fire engineer;Regulator; | More than 20 years | Agree | Agree | Agree | Strongly agree | Neither agree nor disagree | Agree | Insufficient competence and poor communication of risk and uncertainty | The fire engineering sector has had to grow significantly to account for the demand for services yet this growth has resulted in many working in the sector with low levels of competence. I believe we should all be uncomfortable with this as it means 1) we have to acknowledge this as the situation and 2) that even where we are putting in oversight control measures this places significant demands on the small number of more competent fire engineers. | Neither agree nor disagree | Neither agree nor disagree | Agree | Agree | Agree | Guidance can substitute for competence |  | Climate-driven changes in fire behaviour and emergency response | Culture - if we had a culture with behaviours such as ethics and how we truly learn (and retain that learning) from fires and other disasters we would be in a better place in my view. People might be honest about their competence, have integrity to say no, to more openly share learning and knowledge, have proper accountability and take responsibility for those who are impacted by our work. | As a sector have we regained public trust and how would we know? | Risk communication and public trust; | Not making a significant enough change in our culture and failing to learn (and retain that learning) from our mistakes.
Fire engineer; | More than 20 years | Agree | Agree | Agree | Agree | Strongly agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty | Using standard "old" guidance on the basis it is old and so must be good. For example the stay put escape strategy when the building is on fire for apartment buildings. Outside the UK it is unthinkable (or they assume you are joking). Yet changing from stay put to full evacuation is like pulling teeth in England. | Neither agree nor disagree | Agree | Agree | Neither agree nor disagree | Strongly agree | The current regulatory model is fundamentally fit for purpose | No comment | Loss of practical expertise and competence | Sprinklers in buildings | List those buildings that may be excused from requiring sprinklers and why | Competence, accountability, and professional judgement; | Ignoring the lessons that could have been learned from the fires that will occur over the next 20 years.
Fire engineer; | 5–10 years | Neither agree nor disagree | Strongly agree | Disagree | Disagree | Disagree | Agree | Insufficient competence and poor communication of risk and uncertainty |  | Agree | Agree | Disagree | Disagree | Strongly agree | Responsibility can be divided without being diluted |  | Regulation failing to keep pace with innovation |  |  | Risk communication and public trust; | Slowing the pace of change
Fire engineer;Academic or researcher; | 5–10 years | Agree | Strongly agree | Disagree | Agree | Agree | Neither agree nor disagree | Over-reliance on rules-based guidance and mistaking compliance for safety |  | Strongly agree | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | New technology automatically improves safety |  | Climate-driven changes in fire behaviour and emergency response | teach fire engineers about the fundamentals of fire behaviour - competence through knowledge not through rigid guidance following |  | Climate resilience and emerging hazards;Risk communication and public trust;Education, research, and the future workforce; | overcharging for over-priced automated boilerplate fire strategies
Fire engineer; | More than 20 years | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty | That we are still blaming guidance and compliance without even understanding what that means - latest excuse for lack of rigour and ethics | Strongly disagree | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | Strongly agree | More analysis always produces better decisions | No idea what this means | Climate-driven changes in fire behaviour and emergency response |  | Why did the sfpe issue a questionnaire without one mention of people vulnerable people or ethics? | Risk communication and public trust;Education, research, and the future workforce; | No idea Ridiculous question
Fire engineer;Regulator;Building control;Fire and rescue service;Insurer;Academic or researcher; | More than 20 years | Agree | Agree | Strongly agree | Agree | Strongly agree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Overall and holistic development of the Fire Engineering Profession so that it is recognised as a noble profession in general public opinion. | Agree | Agree | Agree | Strongly agree | Agree | The current regulatory model is fundamentally fit for purpose | Incidents can happen any time, to be ready for deployment 24x7. This is the greatest uncertainty every one must realise. | Regulation failing to keep pace with innovation | Match the regulation with technological developments as well as with increase in complexity of life safety & modern day fire Engineering challenges. | Fire Engineering Challenges of the new world with technological developments | Compliance versus genuine safety outcomes;Climate resilience and emerging hazards; | Dealing with risks evolved from technological advancements.
Fire engineer; | 11–20 years | Disagree | Agree | Strongly disagree | Strongly disagree | Strongly agree | Neither agree nor disagree | Insufficient competence and poor communication of risk and uncertainty | There are a lot of virtuous fire engineering statements made about ADB not being fit for purpose and or critiquing specifics aspects of the guidance therein. However, someone somewhere has to set the benchmark for fire safety based on a cost benefit analysis. We would all love buildings to be 100% safe from fire but is that a reality? Who is the arbitrator of safety if this is left to engineers? Without guidance setting the minimum standard, why would any engineer accept 60 minutes is an acceptable standard of safety for a residential building when a time equiveillance assessment shows much longer is required. | Agree | Agree | Disagree | Strongly agree | Strongly agree | The current regulatory model is fundamentally fit for purpose |  | Uncritical use of AI and automated design | Training of approvals bodies to better understand fire engineering. |  | Education, research, and the future workforce; | Allowing numerous good fire engineering courses to go to the wall. While I am not sure this is our fault, we are raising the bar to entry all the while the number of fire engineering courses reduces. It seems like our focus is not properly aligned with the problem.
Fire engineer; | 11–20 years | Neither agree nor disagree | Agree | Disagree | Neither agree nor disagree | Neither agree nor disagree | Neither agree nor disagree | Weak ownership by dutyholders and fragmentation between professions |  | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | Neither agree nor disagree | Strongly agree | If a design complies, it is safe |  | Climate-driven changes in fire behaviour and emergency response |  |  | AI, modelling, and digital innovation;Compliance versus genuine safety outcomes;Safety in existing and high-rise buildings;Climate resilience and emerging hazards;Regulation, enforcement, and dutyholder responsibility;Testing, product performance, and evidence;Education, research, and the future workforce; | lack of consistency in the regulatory framework
Fire engineer; | More than 20 years | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty | Fire engineers and their employers are unwilling to recognise weaknesses in their knowledge, expertise and competence and to limit the areas in which they will undertake work. It is often assumed that length of service or having worked in a fire engineering position is sufficient to demonstrate competence. In addition, fire engineers assume that their view of risk should prevail over the tolerability of risk of those living with the consequences of fire safety design (note the lack of representation on BSI committees of residents and building occupants). | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | Strongly agree | Guidance can substitute for competence | In recognising, there are many suitable approaches to risk assessment, instead of relying on limited approaches codified in PAS documents | Uncritical use of AI and automated design | Require fire engineering consultancies to develop a professional hierarchy which is aligned to the professional registration of engineers with real sanctions for those who do not uphold standards, and for employers to stop diluting the profession by promoting and using those unwilling to seek professional registration. After all, we wouldn't use a GP or surgeon who decided that it was not worthwhile seeking or maintaining professional registration. (Note that this approach assumes a need to remedy the deficiencies in our institutions developed in the quarter of a century since Chartered Engineer registration was first available.) | How do we avoid the negative consequences of AI on our profession? For example, As AI is adopted by consultancies, it will reduce the opportunities for the development of young engineers by enabling them to provide answers to questions based on the use of AI tools instead of developing solutions from first principles. | Competence, accountability, and professional judgement;AI, modelling, and digital innovation; | Accepting AI as a tool for design and risk assessment and seeking business growth and shareholder value over professional competence.
Fire engineer; | More than 20 years | Strongly agree | Strongly agree | Strongly agree | Agree | Neither agree nor disagree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | I would suggest 3 aspects: 1. Fire engineering is not about bricks, external wall build-ups, or tested details; it is all about the people who occupy those buildings and how fire might impact their safety. The built environment is merely the stage; human safety is the story we're actually telling. 2. The belief that somehow fire safety (any safety, really) is a binary or absolute and the focus placed on the blind application of guidance in the belief that it will provide an appropriate level of life safety. We have an overreliance on "magic numbers" in guidance, laboratory controlled homogenous fire tests, and the dogged insistence that guidance represents the only solution (or even a safe one). More tragic is the insistence that yet more legislation, rigid numbers and generic boxes to tick will somehow provide a solution. 3. Fire engineering is moving from a genuine engineering discipline to an administrative box-ticking exercise, where the goal is the production of a beautifully crafted fire strategy document bearing closer resemblance to a fairytale than reality. This is often accompanied by hyper risk aversion: including clever language and an abundance of caveats, a liberal use of Teflon, and refusal to give straight answers which deviate from the "magic numbers" in guidance. (Possibly a handy shield behind which incompetence is hid from view?) | Agree | Agree | Strongly agree | Neither agree nor disagree | Strongly agree | If a design complies, it is safe |  | Loss of practical expertise and competence | Increase the focus on demonstrably meeting the functional requirements and less on following guidance. |  | Competence, accountability, and professional judgement;Compliance versus genuine safety outcomes;Risk communication and public trust; | Twenty years from now, I think today's fire safety engineering profession will be criticised for abandoning fire engineering for box-ticking.
Fire engineer; | More than 20 years | Agree | Agree | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | Insufficient attention to existing buildings | Seeks higher levels of fire safety. What about the balance?? | Neither agree nor disagree | Agree | Agree | Neither agree nor disagree | Agree | The current regulatory model is fundamentally fit for purpose | Is an outcomes based regulatory system appropriate for the UK construction industry? | Loss of practical expertise and competence | Strike balance between fire safety and the needs of society | Now do we as a profession help governments strike the balance between fire safety and the needs of society? | Safety in existing and high-rise buildings;Risk communication and public trust; | Not taking account of the broader needs of society, such a need of basic shelter, general functionality of buildings. Profession took a narrow fire safety focus.
Fire engineer; | More than 20 years | Agree | Agree | Strongly agree | Agree | Agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | The acceptance of qualifications over experience | Agree | Agree | Strongly agree | Neither agree nor disagree | Agree | If a design complies, it is safe | The use of defend in place policy for high rise residential | Uncritical use of AI and automated design | Increased observations during construction to confirm compliant methods and materials are used |  | Safety in existing and high-rise buildings; | Lack of technical progression
Fire engineer; | 11–20 years | Agree | Strongly agree | Agree | Strongly agree | Neither agree nor disagree | Agree | Insufficient competence and poor communication of risk and uncertainty | The BSR competences are not being assessed. As a fire engineer, I am expected to be CEng, CEng HRB, but the BSR staff is ex HM Passport Office. So how are they suitable to judge my design? There is also an issue of engineers chasing grade and money, instead of chasing competence and experience. | Disagree | Disagree | Strongly agree | Agree | Strongly agree | If a design complies, it is safe | Maybe with AI. Try not to regulate it too soon. It leads to the question on "Digital tools and and AI will change fire engineering faster than professional institutions are prepared for". I do believe it is the case, but I don't necessarily think it is a negative thing. I often use AI to check what I am writing, to find flaws in my arguments, and to better the level of safety. So it is a bit uncertain how AI will affect us all at the moment, but wait and see might lead to better decisions made in the design. | Failure of product testing and performance claims | Force manufacturers to undertake more fire test of their products. |  | Competence, accountability, and professional judgement;Testing, product performance, and evidence; | Having used the lessons from the Grenfell Fire Public Inquiry to create a system that is even less efficient than before. More paper, more documents do not create more safety. It creates more onus on the fire engineer, it increases the demand in a low supply, fire engineers ask for more and more money, want to progress faster and faster, but don't have the required competence and knowledge. But the clients see "associate director" and assume the fire engineer has the right level of competence and experience. So it becomes increasingly difficult to differentiate a good "associate director" to a poor one, since even the grade now doesn't mean any. So in 20y, the profession might not be better than now. Just dealing with different issues.
Fire and rescue service;Fire engineer; | More than 20 years | Agree | Agree | Agree | Strongly agree | Strongly agree | Strongly agree | Weak ownership by dutyholders and fragmentation between professions | I have met and worked with some very good fire engineers, and been confident in their approach, but I regret to say I have also encountered 'value' engineering. Examples include fire engineers being involved late in a project and being used in an attempt to justify a poor or flawed design to get it past regulators. Treating building users as predictable automatons and avoiding awkward or inconvenient real human behaviour traits. Minimal sensitivity analysis and questionable margins of safety, etc. Professional ethics and being able to advise a client that their proposal and design needs to be change is something that needs to be improved and enhanced. Sometimes a fire engineer should just say 'No'. This can be a highly uncomfortable and economically challenging stance. | Disagree | Agree | Neither agree nor disagree | Agree | Strongly agree | If a design complies, it is safe | Real human behaviour in fire and other emergencies - don't treat people as if they will behave predicably. We need to recognise the uncertainty and provide realistic margins of safety in our designs. | Uncritical use of AI and automated design | In the UK there are moves to put fire engineers on a more professional footing and give the title 'protected status' and have a governing body. This is long overdue and very welcomed. |  | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Testing, product performance, and evidence; | I think it will be similar to criticisms made today about past fire safety and fire engineering practices - Making unsound assumptions and assuming all will be well.
Other; | More than 20 years | Agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | The feeling that fire engineering is used to bring about a conclusion that suits the building developer or owner rather than independent fire safety, such as demonstration of compliance rather than addressing the core best practice fire safety requirements. E.g. What has been described as "value engineering" down to a cost figure, to suit a budget rather than core best practice safety for the building in use.. In practice all the above in 4. are of importance, and it's difficult to really rank one above the others. | Strongly agree | Strongly agree | Strongly agree | Neither agree nor disagree | Agree | Responsibility can be divided without being diluted | Uncertainty should be recognised and acknowledged as a reality, but it should not be tolerated, which risks reduction in levels of scrutiny down to a level of complacency. Tolerating would not necessarily lead to better fire safety decisions, though the decisions may be better in terms of meeting timescale deadlines or lower driven down cost targets. There needs to be an methodology introduced for a common basis on carrying out risk assessments, with rigorous, consistency and confidence , on how to better tolerate reduced levels of uncertainty. | Uncritical use of AI and automated design | We need a national technical institute that can carry out on a technically independent basis impartial research, assessments, evaluations and structured studies that all can access as a source of common knowledge. One of the greatest weakness is the relatively poor practical knowledge on products and product system concerning behaviour in fire in buildings, taking in a technical evaluation of modes of failure and deterioration mechanisms. | How can we create an impartial and independent technical institute to undertake the requirements in 10. ? That is including as a prime objective the requirement to move towards a better understanding of fire in buildings, in effect to better establish a scientific based approach that can be built on to remove the need for separate individual interpretations and judgments based on just personal accrued experience and knowledge. From below, "Education, research and the future (knowledgeable) work force" is the most important. Though all are worthy of inclusion as considerations. | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;AI, modelling, and digital innovation;Regulation, enforcement, and dutyholder responsibility;Safety in existing and high-rise buildings;Education, research, and the future workforce; | Not developing a sound science-based new discipline of "Fire Behaviour in Buildings and the Importance of Design."
Fire engineer; | More than 20 years | Agree | Agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Weak ownership by dutyholders and fragmentation between professions | Poorly regulated profession, too many liars and crooks | Agree | Agree | Agree | Strongly agree | Agree | If a design complies, it is safe | Not sure | Uncritical use of AI and automated design | Educate the RP | It’s not about getting a degree, it’s about what is safe | Safety in existing and high-rise buildings;Regulation, enforcement, and dutyholder responsibility;Education, research, and the future workforce; | Not paying attention today
Fire engineer; | 5–10 years | Strongly agree | Strongly agree | Agree | Agree | Strongly agree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Performance based design is relied upon and delivered in ways that are overly conservative for the deterministic studies commonly used and do not consider the range of possible scenarios. Very little justification of modelling parameters. | Agree | Disagree | Agree | Agree | Strongly agree | If a design complies, it is safe | The industry should work towards quantifying uncertainty better so it can be communicated and assessed from a position of knowledge. At the moment we go with - were not sure so we picked this case we *think* is the worst, but that doesn't quantify if it actually is the worst or the range of variables and interactions. | Uncritical use of AI and automated design |  | Why has the BSR employed the exact attitude Dame Judith Hackett warned against in her report? Meeting guidance is the most heavily endorsed approach yet blindly meeting guidance was the exact thing warned against. | Testing, product performance, and evidence; | "Meeting guidance"
Fire engineer; | 11–20 years | Strongly agree | Strongly agree | Agree | Strongly agree | Strongly agree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | We have moved to ticking boxes rather than fully understanding acceptable levels of safety | Strongly agree | Strongly agree | Strongly agree | Disagree | Strongly agree | If a design complies, it is safe | Technical competence and expert opinion based on skeb, once the designer takes on the liabilities | Uncritical use of AI and automated design | More focus on fundamentals and not ticking boxes | How can projects be commercially sustainable and still achieve acceptable levels of safety as it is currently unsustainable | Compliance versus genuine safety outcomes; | As it is now, most fire engineers are high level with fluffy clouds rather than detail and severe lack of understanding regarding realities of implementation of a fire strategy along with severe lack of understanding about construction methods
Fire engineer; | 11–20 years | Agree | Strongly agree | Neither agree nor disagree | Neither agree nor disagree | Disagree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | The uncomfortable observation is that sometimes fire engineering can still place greater confidence in demonstrating compliance through established rules than in properly reasoned engineering judgement. Margaret Law and Paula Beever's paper rings more true today than it ever did, Magic Numbers and Golden Rules, “the magic numbers embodied in regulations are accepted without question whilst any engineering solution is subject to a disproportionately high standard of proof.” That observation remains uncomfortable because we can accept a prescribed number without fully understanding its technical basis or the safety objective it is intended to achieve. However, where an engineer proposes a rational alternative, the supporting analysis may be subjected to far greater scrutiny than the conventional solution it is being compared against. Law and Beever also made the important point that “even if all projects comply with the codes, they are not all equally safe.” Their conclusion was that the fire engineer must use “judgement in addition to rules” to establish adequate safety for the particular project. The risk is that fire engineering becomes an exercise in defending departures from guidance, rather than applying science, evidence and professional judgement to achieve the underlying safety objective. Compliance remains important, but it should not become a substitute for understanding. This has always been a fustration of mine, I had always wished the likes of ADB or BS 9991/9999, had almost appended information to all the underlying records/science/history behind why a piece of guidance came into place (whether during the update or historically existing). The mindset to be in an environment to be encouraged to blindly follow guidance (where there is no logic) because its a path of least resistance goes so fundamentally against the DNA of an engineer. | Strongly agree | Agree | Strongly agree | Strongly agree | Strongly agree | The current regulatory model is fundamentally fit for purpose | I think the profession should tolerate more uncertainty where the available evidence is sufficient to support a proportionate engineering judgement. As Margaret Law and Paula Beever observed in Magic Numbers and Golden Rules, the role of the fire engineer is not to predict in detail exactly what will happen in a fire, but to produce a design that achieves an adequate level of safety. Too often, uncertainty within an engineered solution is treated as a weakness, while the uncertainty embedded within prescriptive guidance is accepted without the same scrutiny. A minor departure can therefore lead to increasingly remote “what if” scenarios and an expectation that the engineer resolve every unknown, even though the prescribed solution itself may not withstand an equivalent level of analysis. Ultimately, an aversion to uncertainty can lead us to design for what is in reality an unlikely event (fire) against its consequences, relative to its day to day use and experience, resulting in over-engineered buildings that cost more, consume more carbon and provide less flexible and enjoyable spaces, without necessarily delivering a meaningful improvement in safety. The profession should be more willing to tolerate uncertainty where the safety objective is clear, the assumptions are transparent, the evidence is scientifically credible and the consequences have been properly considered. This does not mean accepting unsupported judgement or lowering the standard of safety. It means recognising that uncertainty cannot be eliminated and that demanding false precision does not necessarily produce a better or safer decision. | Loss of practical expertise and competence | Ask all guidance documents to provide appended evidence in the guidance it contains. | Does Margaret Law and Paula Beever - Magic Numbers and Golden Rules paper ring truer today than it ever did, and how would you help change that in the work you do and are influencing? | Compliance versus genuine safety outcomes; | In not doing enough to mitigate negative environmental or societal impacts as a result of being driven by sentiment that does not have any evidential basis (UK or workwide). Something to sum it up in a simple example, is imagine there are buildings that have smaller windows as a result of the more default use of BR 187 tables, than performing other methods of assessment due to it being the path of least resistance, or is of more regulatory familiarity. Less natural light detrminentally affects the use of the space (higher energy use, negative wellbeing of occupants, reduced functionality of spaces etc.), that would be a great shame.
Fire engineer; | 11–20 years | Agree | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | Agree | Agree | Insufficient competence and poor communication of risk and uncertainty | Younger engineers do not have the mentorship or training to help them grow. We're often floundering and using previous project work to try and solve current project problems. Senior engineers aren't available to give the guidance we need, or we find that there are non-answer answers given when we ask questions. We don't need white papers for the questions we ask, but a bit of time to explain the 'why' and not just point us to another reference project or code language would be helpful. Sucks that I work for a company with industry recognized experts but there's no benefit to gain from having these 'giants' around. And my peers in other companies wish that they had the access to their expertise. Lol. It's a joke. I went for a Master's to try and help get rid of this feeling of being so stupid and incompetent, but that didn't help. I got the degree, but am still working out problems on my own, with little to no mentorship to talk problems over with. The stupid feeling is still there. And I'm not alone in this feeling/thought/attempt to solve it. | Disagree | Disagree | Agree | Agree | Agree | More analysis always produces better decisions |  | Loss of practical expertise and competence | Training. | How can practicing engineers get the mentorship that they need? | Compliance versus genuine safety outcomes;Climate resilience and emerging hazards;Education, research, and the future workforce; | Blindly following codes and standards, or methods used for modeling. Disintegration because of lack of a solid foundation behind those trying to do the fire protection work today and no teachers to help them.
Academic or researcher; | 11–20 years | Strongly agree | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | Agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty | There is the assumption that guidance is defensible - the regulations are the only thing that is needed to be adhered to. Guidance is an aid, but the engineer needs to understand them more fully. | Agree | Agree | Neither agree nor disagree | Strongly agree | Strongly agree | Guidance can substitute for competence | Everything has uncertainty built into it, so it is not the industry should tolerate more uncertainty, but it needs to outright acknowledge the uncertainty already built into the systems, guidance, codes that we all rely on. | Uncritical use of AI and automated design |  | What is the purpose of guidance, and how does this impact the necessity of competence? (e.g., competent engineers should need guidance) | Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility;Education, research, and the future workforce; | Lack of competence (we design by disaster, not by research, so only after disasters do we change, and thus we will continually be criticised for a lack of competence).
Fire engineer; | 11–20 years | Strongly agree | Agree | Neither agree nor disagree | Agree | Neither agree nor disagree | Strongly agree | Weak ownership by dutyholders and fragmentation between professions | The lack of any guidance (formal or informal) for what a fire engineer is (the obvious point) but also what makes an engineer senior/principal/ or director, etc. The industry is going through a dramatic change and there is nothing for example issued from the IFE, which is an organisation that allegedly represents fire engineers. | Agree | Neither agree nor disagree | Neither agree nor disagree | Agree | Strongly agree | The current regulatory model is fundamentally fit for purpose |  | Increasingly complex high-rise construction | Setting out clear competency expectations for both fire engineers and regulators | What is a fire engineer and who can use this title? | Competence, accountability, and professional judgement;Safety in existing and high-rise buildings;Education, research, and the future workforce; | Very slow to adapt to a chaging industry, we know what we should be doing but it is taking too many years to make small changes in the right direction.
Fire engineer; | Less than 5 years | Neither agree nor disagree | Agree | Agree | Agree | Agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Fire engineering is increasingly being used to justify architectural and commercial aspirations, rather than challenge them, and the profession is often rewarded more for facilitating designs than for questioning them. This is uncomfortable because most fire engineers would argue, correctly, that they are independent professionals acting in the interest of life safety. However, the commercial reality is that fire engineers are typically appointed and paid by the design team or developer whose scheme they are reviewing. As a result, there can be subtle but powerful pressure to find a compliant route through a difficult design rather than asking whether the design itself is fundamentally appropriate. | Agree | Agree | Agree | Disagree | Strongly agree | If a design complies, it is safe | We spend enormous effort reducing uncertainty in our calculations and models, yet relatively little effort acknowledging uncertainty in how buildings are actually occupied, managed and altered over decades. Should fire engineering stop striving for ever-greater precision and instead focus on designing buildings that remain safe even when our assumptions turn out to be wrong? | Regulation failing to keep pace with innovation | Mandatory periodic review of fire strategies for complex buildings. Fire safety shouldn't be a point-in-time assessment; it should be a living consideration. | If we judged the success of fire engineering solely on the safety of occupied buildings over the next 50 years, rather than on achieving approval today, what would we do differently? | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility;Risk communication and public trust;Education, research, and the future workforce; | Twenty years from now, I don't think people will criticise fire safety engineering for using CFD, evacuation modelling, or artificial intelligence. I think the criticism will come from believing that buildings would continue to be operated exactly as we assumed they initially would be.
Fire engineer; | Less than 5 years | Agree | Agree | Neither agree nor disagree | Agree | Agree | Neither agree nor disagree | Weak ownership by dutyholders and fragmentation between professions |  | Neither agree nor disagree | Disagree | Neither agree nor disagree | Agree | Strongly agree | Responsibility can be divided without being diluted |  | Regulation failing to keep pace with innovation | Consideration of lithium-ion battery fires (temp + growth rate) in guidance, incl in fire enclosure and ventilation strategies |  | Safety in existing and high-rise buildings;Regulation, enforcement, and dutyholder responsibility;Risk communication and public trust;Education, research, and the future workforce; | Not providing sufficient resources to projects such that engineers working on them are overstretched and more likely to make mistakes. This should not be taken as individual responsibility, rather the culture rewards overworking to succeed in the profession.
Fire engineer; | More than 20 years | Disagree | Agree | Agree | Strongly agree | Disagree | Disagree | Insufficient competence and poor communication of risk and uncertainty | When professional obligations and commercial interests pull in opposite directions. | Agree | Strongly agree | Neither agree nor disagree | Disagree | Strongly agree | Guidance can substitute for competence |  | Loss of practical expertise and competence | Verification that what a fire engineer has designed has been built as it should have been. |  | Competence, accountability, and professional judgement; | Over reliance by some on Artificial Intelligence rather than graduates
Insurer; | 11–20 years | Strongly agree | Agree | Strongly agree | Strongly agree | Agree | Disagree | Over-reliance on rules-based guidance and mistaking compliance for safety |  | Strongly agree | Neither agree nor disagree | Strongly agree | Strongly agree | Strongly agree | If a design complies, it is safe |  | Regulation failing to keep pace with innovation |  |  | Education, research, and the future workforce;Risk communication and public trust;Competence, accountability, and professional judgement; | No brain involved.
Fire engineer; | 11–20 years | Disagree | Disagree | Strongly disagree | Agree | Neither agree nor disagree | Disagree | Insufficient competence and poor communication of risk and uncertainty | The increased demand for fire engineers has resulted in a market where companies are desperate to hire engineers with any experience. Combined with the desire to retain staff this can result in rapid promotions to roles which are on paper inappropriate. How do we counter this? It feels like a new race to the bottom driven by demand for staff which cannot be met in the foreseeable future. Increased focus on fire engineering has, in the short term, the potential to make the field on average less competent and result in further issues. | Neither agree nor disagree | Strongly agree | Neither agree nor disagree | Agree | Strongly agree | Guidance can substitute for competence |  | Regulation failing to keep pace with innovation |  | Twenty years from now, what do you think today's fire safety engineering profession will be criticised for? | Competence, accountability, and professional judgement;Education, research, and the future workforce;Risk communication and public trust; | competence, significant growth to meet demand resulting in lack of competence in senior roles and potentially impacting the industry for many years to come.
Academic or researcher; | More than 20 years | Agree | Agree | Neither agree nor disagree | Neither agree nor disagree | Disagree | Agree | Weak ownership by dutyholders and fragmentation between professions | Are fire engineers rewarded more for delivering a project efficiently than for identifying inconvenient safety issues? | Strongly agree | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | Guidance can substitute for competence | Is the profession spending to much effort on reducing uncertainty fire engineering models/rules, and not enough effort understanding uncertainty in the real world? | Loss of practical expertise and competence | Explicit documentation and review of assumptions, uncertainties, and limitations for all major engineering decisions, whether the work is produced by humans, AI tools, or a combination of both. This should be accompanied by a framework for evaluating decisions that involve AI, ensuring that engineers can assess the provenance, reliability, limitations, and appropriateness of AI-generated outputs. | How do we ensure that changes in AI and regulations strengthens professional judgement rather than gradually replacing it? | Education, research, and the future workforce; | Failure to embrace digital information standards, BIM-enabled workflows, and the principles of the Golden Thread as identified in the Grenfell report. Despite recognising that effective fire safety relies on accurate, accessible, and trustworthy information throughout a building's lifecycle, the profession continued to depend on fragmented documentation, disconnected systems, and repeated manual data transfer, resulting in information loss, reduced traceability, and weakened decision-making.
Fire engineer; | 5–10 years | Agree | Agree | Neither agree nor disagree | Agree | Strongly agree | Agree | Insufficient competence and poor communication of risk and uncertainty |  | Agree | Neither agree nor disagree | Agree | Agree | Agree | Guidance can substitute for competence |  | Loss of practical expertise and competence |  |  | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement; | The use of AI and its accountabilities in this profession.
Other; | Less than 5 years | Disagree | Agree | Agree | Agree | Agree | Agree | Insufficient competence and poor communication of risk and uncertainty | fire engineering doesn't commands the same amount of trust and belief of clients or common public. it should be regulated across the industry and made a mandatory standalone requisite for each project/building etc, to make sure we cover all aspects on fire safety and ongoing compliance. | Agree | Strongly agree | Strongly agree | Agree | Strongly agree | New technology automatically improves safety |  | Regulation failing to keep pace with innovation |  |  | AI, modelling, and digital innovation;Education, research, and the future workforce;Regulation, enforcement, and dutyholder responsibility; | no proper upgrade on fire safety in listed/legacy buildings. strict laws with immediate penalty and remedials for improper fire safety such as the fire set off in a vape shop next to glasgow station, fire in recycling units & bin collection lorries due to combustible item such as batteries
Fire engineer; | More than 20 years | Agree | Agree | Neither agree nor disagree | Disagree | Neither agree nor disagree | Neither agree nor disagree | Over-reliance on rules-based guidance and mistaking compliance for safety | Qualifications can be assumed as competence, whereas it should be a factor but coupled with experience. | Strongly agree | Agree | Agree | Agree | Agree | The current regulatory model is fundamentally fit for purpose |  | Large-scale refurbishment of existing buildings | Better transparent communication between BSR and Design teams. | Where there is a genuine difference of professional opinion between the design team and the regulator on the application of guidance, with significant pressure from clients and project teams not to delay approval further, how can this be constructively challenged and resolved in a timely manner, rather than simply changing the design to reflect the BSR’s position? | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Education, research, and the future workforce; | Misleading and inconsistencies in the guidance, and the time taken to ensure alignment between the relevant standards.
Regulator;Fire engineer;Student; | More than 20 years | Strongly agree | Strongly agree | Agree | Strongly agree | Agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty | The practice of fire engineering will not mature until those engaging in it are held accountable for deficiencies in their work. Fire engineering design may lead to the fire engineer having a dutyholder role in occupied buildings that should be investigated and potentially held accountable following fire incidents in buildings. This may help fire engineers realise the real world consequences of their work. | Disagree | Disagree | Agree | Agree | Strongly agree | The current regulatory model is fundamentally fit for purpose | In the current environment there is already a great deal of uncertainty with regard to what adequate safety standards beyond guidance such as the Approved Documents looks like, so I would not wish to tolerate more uncertainty. | Uncritical use of AI and automated design | Regulate the individuals practising fire safety to ensure they are accountable for their decisions. | How can we actively seek to change the culture in fire safety, as it appears to be returning to pre-Grenfell levels of practise in some areas? | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Risk communication and public trust;Education, research, and the future workforce; | I think with registration and increasing professional practice, future practitioners will be surprised at how little fire engineering is actually undertaken in the field compared to a reliance on arguments for variation from standard guidance.
Fire engineer; | More than 20 years | Strongly disagree | Disagree | Strongly agree | Strongly disagree | Strongly agree | Agree | Insufficient competence and poor communication of risk and uncertainty | True, demonstrable competence. Not the automatic ticket to CEng when a person who has ONLY done 3 to 5 years post Msc (affects all Eng disciplines. Stop trying to reduce needs when delivering whole life fire safety & property protection. And Barbara Lanes comments, which sum it all up beautifully | Agree | Strongly agree | Strongly agree | Disagree | Strongly agree | If a design complies, it is safe |  | Climate-driven changes in fire behaviour and emergency response | They all apply, Engineer it properly by Competent Fire Engineering Professionals | How will you fix the current model | Competence, accountability, and professional judgement;Safety in existing and high-rise buildings;Compliance versus genuine safety outcomes;AI, modelling, and digital innovation;Regulation, enforcement, and dutyholder responsibility;Testing, product performance, and evidence;Risk communication and public trust;Education, research, and the future workforce;Climate resilience and emerging hazards; | The lost opportunity to actually have learned from the historical mistakes of the preceeding 50 years
Fire engineer; | Less than 5 years | Agree | Strongly disagree | Neither agree nor disagree | Agree | Disagree | Disagree | Over-reliance on rules-based guidance and mistaking compliance for safety |  | Agree | Disagree | Disagree | Agree | Strongly agree | More analysis always produces better decisions |  | Uncritical use of AI and automated design |  | There is a shift in making fire strategies more performance based (i.e. describing how the building is safe analytically and moving away from guidance documents and compliance), this is further supported by the fact "fire engineer" will become a protected title that gives authority on the fire strategy. How will you maintain efficiency in the process of Design, Approval, and Construction if we are going down a convoluted route of making every building performance based and no longer using guidance as a reference? Is there an indication that guidance documents such as ADB and BS 9991/BS 9999 don't produce safe buildings? If these guidance documents produce safe buildings in a reasonable timeframe, why are we moving away from this approach? | Compliance versus genuine safety outcomes; | convoluting the design process by moving too far away from guidance towards independent "self-certifcation" fire strategies that are custom designed for purpose. Ultimately slowing the building of new infrastructure due to over-complicating the design process.
Fire engineer;Other; | 5–10 years | Agree | Disagree | Agree | Agree | Agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty | An uncomfortable observation I would like the panel to confront is that fire strategies are increasingly being used to define the performance, classification and sometimes even the technical design basis of active fire protection systems without sufficient involvement from fire protection engineers/consultants who specialise in those systems. As a fire protection engineer specialising in a range of active fire protection systems, I regularly encounter fire strategies containing incorrect, incomplete or impractical requirements for sprinkler, hydrant, standpipe and other suppression systems. These can include inappropriate system classifications, conflicting standards, unrealistic assumptions about water supplies, reliability or system capability, and requirements that do not reflect how the relevant standards are intended to be applied. In many cases, this level of technical prescription arguably should not be contained within the fire strategy at all. The problem is not simply that mistakes occur. It is that there is often very little direct coordination between the fire engineer developing the overall fire strategy and the fire protection engineer responsible for translating that strategic intent into a technically compliant and buildable system. For example, a sprinkler system may quite properly be identified within the fire strategy as a compensatory or risk-mitigation measure, with an appropriate reference to BS EN 12845 or another applicable standard. The strategy may then go significantly further by prescribing detailed system classifications, design criteria, property-protection requirements such as LPC Rules/FM Data Sheets, or other technical system requirements that are incorrect, inappropriate or insufficiently considered within a fire strategy. This problem can then be compounded by inconsistent levels of competence within the wider fire protection sector itself, both within consultancy and contracting. The result can be a chain of assumptions or misinterpretations in which technically incorrect requirements originate within the fire strategy, are not challenged during design development, and ultimately become incorporated into the installed system by a less competent contractor. This exposes a wider issue of competence within the UK fire protection sector, particularly in relation to water-based fire protection systems. I.e. fire sprinkler engineering is sometimes treated as a relatively simple, prescriptive discipline that can be adequately addressed by citing BS EN 12845, BS 9251 or another standard. In reality, system classification, hydraulic design, water supplies, resilience, storage protection, special hazards and the interaction between different standards require significant specialist knowledge and engineering judgement, all of which should be covered under a separate fire protection basis of design and/or technical specification document. The uncomfortable question is therefore whether the industry has sufficiently defined the boundary between strategic fire engineering and specialist fire protection engineering, and whether professionals are sometimes making, prescribing or accepting decisions beyond the limits of their competence. Addressing it properly would require earlier engineer/consultant involvement, clearer scopes of responsibility, better interdisciplinary coordination and a more rigorous approach to demonstrating competence. Lastly, where the fire strategy relies upon an active fire protection system to satisfy a life-safety objective, compensatory measure or enhanced level of availability, there should be a defined process requiring the fire engineer to remain involved through the relevant design stages and, at completion, to confirm, based upon evidence provided by the relevant competent engineer, that the delivered system satisfies the strategic assumptions upon which the fire strategy relies. This would be more akin to the U.S. fire protection engineering model. | Agree | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | Agree | Guidance can substitute for competence |  | Uncritical use of AI and automated design |  |  | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility;Risk communication and public trust; | Twenty years from now, I think the profession will be criticised for allowing fragmented responsibility, inconsistent competence and over-reliance on guidance to persist for too long. We may look back and question why strategic fire engineering, specialist fire protection design and final construction verification were so often treated as separate activities rather than one continuous assurance process.
Fire engineer; | More than 20 years | Agree | Strongly agree | Agree | Strongly agree | Strongly agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty | I think the titles are important but the expectation that all competencies exist in one person are totally unrealistic so a number of titles are needed along with minimum criteria for each. Then people can apply for titles and evidence them with CPD, academic achievement, professional registration and interview where required. Registration should be renewed on a bi annual basis or similar. | Agree | Agree | Agree | Agree | Strongly agree | The most visible risks are the most important risks | The performance of untested interfaces or conditions | Loss of practical expertise and competence | Mandatory site involvement for all engineers especially at junior levels. Recording or evidencing of CPD maintaining relevant site experience through CPD later in careers. Site experience should be given much greater priority in professional accreditation and in CPD. |  | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;AI, modelling, and digital innovation;Safety in existing and high-rise buildings;Testing, product performance, and evidence; | Not being sufficiently scoped during the construction phase of buildings
Other; | More than 20 years | Agree | Agree | Strongly agree | Agree | Agree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | There's a paticular breed of Fire Engineer that possess a deeply unattractive arrogance, and they have bullied their way into leadership roles. Their expertise is outdated and unscientific, and they are shielded from criticism and public opinion by the IFE and BSI committees that they dominate. They have made some catastrophic errors, yet they know not how to realise their own mistakes. They have ruined the reputation of fire engineering, it has never been lower. I don't think the profession realises quite how corrupt the general public believe fire engineering is now. Even after Grenfell, fire engineering generally continues to congratulate itself on a job done well, when it should be hanging its head in shame. | Agree | Neither agree nor disagree | Strongly agree | Agree | Strongly agree | Guidance can substitute for competence | At the British Standards Institute committees. They are dominated by people with a vested interest in stifling new developments, approaches, and technologies. Mainly because they are dominated by people and organisations that fear change because it might rock their very comfortable and profitable positions. A raft of changes can and should have already been made to move fire engineering forward, but they will never do so, and they will remain self-focused, detached from the profession's primary purpose. | Poor communication of risk to the public | Close down the IFE. | Has the fire engineering community accepted the role it played in what happened at Lakanal House and Grenfell Tower, and reflected on how the general public relies on it to prevent disasters like that? | Safety in existing and high-rise buildings; | Failing to ensure the safety of the people most vulnerable in fire situations.
Fire and rescue service; | More than 20 years | Strongly agree | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | Strongly agree | Weak ownership by dutyholders and fragmentation between professions | Starting from a fixed decision and then attempting to reverse engineer the justification. For instance, following each step of a BS 7974 QDR process, not to reveal problems and issues, but to justify the decision already made. Each step of the QDR may be in the correct order but the content of each step is geared to the pre-determined outcome. Some design teams think following the process is an answer in itself, without regard to the content i.e. "We followed each step of the process; we can't be wrong". Most pertinent to Fire Engineers. | Disagree | Agree | Strongly agree | Agree | Strongly agree | More analysis always produces better decisions |  | Uncritical use of AI and automated design | Ensuring buildings are designed for the realistic use and safety of occupiers over the long term, not just ensuring bare minimum standards are in place solely for Building Regulations approval. | How is the Fire Engineering industry going to demonstrate positive change, if any? | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement; | If not most of the issues already highlighted, possibly the lack of a unified approach to the regulation of the industry when the opportunity presented.
Fire engineer; | 11–20 years | Strongly disagree | Agree | Agree | Strongly disagree | Agree | Strongly disagree | Weak ownership by dutyholders and fragmentation between professions |  | Strongly disagree | Agree | Strongly disagree | Agree | Agree | If a design complies, it is safe |  | Uncritical use of AI and automated design |  |  | AI, modelling, and digital innovation; | Twenty years from now, we may be criticised for knowing that compliance is not the same as safety, yet continuing to design and assess buildings as though it were. We may look back and see a profession that produced excellent codes, calculations and documentation, but was sometimes too slow to challenge assumptions, measure real-world performance and take ownership of outcomes. The real criticism may be that we understood the risks but were not courageous enough to change the system.
Fire engineer; | 5–10 years | Agree | Agree | Strongly agree | Agree | Strongly agree | Agree | Insufficient competence and poor communication of risk and uncertainty | The lack of competent of the items they are requesting compared to the instillation of what it is present or installed. | Disagree | Agree | Agree | Strongly agree | Strongly agree | If a design complies, it is safe |  | Loss of practical expertise and competence | Require people to have a better base understanding of fire safety, the current limitation of guidance and the previous fire safety within buildings. |  | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility; | Lack of action and learning.
Academic or researcher; | 11–20 years | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | Agree | Agree | Weak ownership by dutyholders and fragmentation between professions |  | Disagree | Neither agree nor disagree | Neither agree nor disagree | Neither agree nor disagree | Agree | If a design complies, it is safe |  | Loss of practical expertise and competence |  | How are we going to train the number of fire engineers needed? | Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility;Education, research, and the future workforce; | Lack of competence and expertise.
Fire engineer; | More than 20 years | Strongly agree | Strongly agree | Agree | Agree | Agree | Neither agree nor disagree | Over-reliance on rules-based guidance and mistaking compliance for safety | Why after studying part time to get a BEng not necessarily in Fire Safety/Engineering, do professional bodies (the IFE) appear to hand out IEng or CEng over an existing full Member with 10+ years actual experience & knowledge? Why does a ‘fire engineer’ need to make a decision on a material or assembly of several, rather than the designer or installing contractor, or as opposed the fire risk assessor for an existing building where not a HRB thus not BSR approval? Why do Fire Services appear still to support their Fire safety officers with less than 3 years service, on a fire engineering degree course? Why does someone with 3-10 years experience in petrochemical fires or similar sector, believe they have the built environment knowledge to expect a £60k+ salary? | Agree | Agree | Neither agree nor disagree | Neither agree nor disagree | Agree | Guidance can substitute for competence | Planning & Building Control sector | Large-scale refurbishment of existing buildings | More F2F office & site based collaborative working, ie much less work from home & ‘fire safety by laptop & Teams. | Why does the recently published draft BS 9994, have apparently no mention of the RIBA Stages Plan of Work? Aside the FIA Fire Engineering Council (members only) is there no Working Group or Special Interest Group for design-type fire engineering/engineers? | Competence, accountability, and professional judgement; | Not learning from where we were 20 years ago, ie in 2005, it was felt there was too much ‘red tape’ & legislation, affecting the development of the built environment, innovation and business growth, so Fire Certification was repealed, now we have the BSA and here we are again, building residential structures which all look the same. Also, why did we agree to a +6 storey building needing two staircases, lobbies and lifts etc, when we’d only ever use one of them in an emergency?
Fire engineer; | More than 20 years | Strongly agree | Agree | Agree | Neither agree nor disagree | Strongly agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Regulators without sufficient experience or knowledge to understand correct application of and over reliance on guidance given absolute power over approval and no course for challenge with a governing body. | Strongly agree | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | Guidance can substitute for competence | Acknowledging that fires do occur and people sometimes are harmed. Strive for the best that can be achieved but stop chasing absolute safety when it is not possible. | Loss of practical expertise and competence | Give regulators the benefit of years of experience and understanding of commercial needs. | How can change be most efficiently brought about. | Competence, accountability, and professional judgement;AI, modelling, and digital innovation;Education, research, and the future workforce; | Not making the right changes to the profession when we had the opportunity.
Fire engineer; | 5–10 years | Agree | Agree | Agree | Agree | Agree | Neither agree nor disagree | Insufficient competence and poor communication of risk and uncertainty | Fire engineering in the UK is mostly a prescriptive code consulting role rather than explicit fire engineering role. Most new people joining the industry don’t have a relevant engineering degree covering fire engineering courses. Some people may be over reliant on the use of AI or following the code and don’t fundamentally understand fire engineering principles. | Agree | Neither agree nor disagree | Neither agree nor disagree | Agree | Agree | More analysis always produces better decisions |  | Uncritical use of AI and automated design |  |  | Competence, accountability, and professional judgement; | Easy barrier to entry for chartership to fire engineering professional institutions. The profession needs to be clearly defined.
Architect; | More than 20 years | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty | a significant section of commercial fire engineers are operating on a business model which promotes ambulance chasing opportunism. these fire engineers are using fear couched as sound fire engineering practice to instigate remediation positions which are intended to compound their fee potential rather than proactively and pragmaticly using their fire engineering knowledge to apply PAS 9980 constructively. | Neither agree nor disagree | Strongly agree | Strongly disagree | Neither agree nor disagree | Agree | Guidance can substitute for competence | performance and installation of products where installation tolerance do not present an unacceptable risk. construction tolerances are not 1mm maximum perfect so how do reconcile real life building tolerances with text book high performance engineering expectations demanded by some fire engineers. | Failure of product testing and performance claims | reintroduce prescriptive fire regulations under government ownership and responsibility. restoring trust is now essential and so the days of the government and its civil service side stepping responsibility must stop. | how do you propose to provide a policed ethical framework for fire engineering practices.. the profession needs to put an end to wild West practices which are at play and hold those businesses accountable who are promoting unethical business practices. | Competence, accountability, and professional judgement; | unethical behaviour, ambulance chasing and with hindsight fire engineering judgements to hide the industries pre- Grenfell failures, poor practices and lack of understanding of the application of building regulations guidance at the time.
Fire engineer;Regulator;Building control; | 11–20 years | Neither agree nor disagree | Agree | Disagree | Agree | Agree | Strongly agree | Insufficient attention to existing buildings | We demand evidence when designers depart from guidance, but we are often much less willing to demand evidence when the guidance itself is challenged. If recognised guidance is the accepted industry benchmark, regulators need to be clear when they do not accept it. But equally, designers should not be able to close down a legitimate safety challenge simply by saying “ADB permits it.” Comparative CFD can show that nominally compliant solutions do not always deliver the performance that is assumed. At that point, “where does it say I have to model it?” is the wrong question. The question should be: “how have you demonstrated that this solution achieves the functional requirement?” The uncomfortable part is that both regulators and designers can sometimes prefer the certainty of compliance to confronting what the evidence is actually showing. | Agree | Disagree | Agree | Agree | Strongly agree | If a design complies, it is safe | We should tolerate more uncertainty around the assumptions that sit behind prescriptive guidance. Compliance provides a benchmark, but not certainty of performance. Where evidence challenges the assumed safety of a compliant solution, the industry should be willing to acknowledge and investigate that uncertainty rather than retreating to “the guidance permits it”. | Loss of practical expertise and competence | Require fire safety decisions to demonstrate the intended safety outcome, not just compliance with a prescribed solution. Guidance should remain the benchmark, but where evidence challenges the assumed performance of a compliant solution, that evidence should have to be addressed rather than dismissed by reference to the guidance alone. E.g modelling of natural smoke shafts is one as the location and configuration can be critical to its performance. | When evidence challenges the safety of a code-compliant solution, should “it complies with the guidance” still be an acceptable answer? | Regulation, enforcement, and dutyholder responsibility;Competence, accountability, and professional judgement;Compliance versus genuine safety outcomes;Safety in existing and high-rise buildings; | Twenty years from now, the criticism may be that the profession had the tools, data and engineering capability to challenge assumptions, but too often chose the certainty of guidance over the harder question of whether a solution was actually safe when we had the answers that it may not always be.
Other; | More than 20 years | Agree | Agree | Neither agree nor disagree | Agree | Neither agree nor disagree | Agree | Weak ownership by dutyholders and fragmentation between professions | A degree focused profession where graduates have little understanding of building complexities and construction processes. Little to no established route for built environment professionals to transition, where valuable construction knowledge could be shared within teams. | Agree | Disagree | Agree | Agree | Strongly agree | Guidance can substitute for competence |  | Large-scale refurbishment of existing buildings | Clearly defined fire safety training for all built environment personnel including site managers and project managers as this is where the best designs can fall down. | Define required competency for vocational progression for fire safety professionals to fire engineering | Competence, accountability, and professional judgement;Safety in existing and high-rise buildings;Education, research, and the future workforce; | Lack of surveying and remediating existing buildings to bring risk to an acceptable level.
Fire engineer; | Less than 5 years | Disagree | Agree | Disagree | Strongly agree | Agree | Neither agree nor disagree | Insufficient competence and poor communication of risk and uncertainty |  | Neither agree nor disagree | Agree | Agree | Agree | Strongly agree | If a design complies, it is safe |  | Uncritical use of AI and automated design |  |  | Competence, accountability, and professional judgement;Compliance versus genuine safety outcomes;Risk communication and public trust; | Following guidance blindly even when it may not apply to the project, which is a result of a lack of competence and engineering judgement of the fire engineer.
Fire engineer; | 11–20 years | Neither agree nor disagree | Disagree | Neither agree nor disagree | Neither agree nor disagree | Strongly disagree | Disagree | Inadequate testing, evidence, or research |  | Disagree | Agree | Neither agree nor disagree | Neither agree nor disagree | Agree | The current regulatory model is fundamentally fit for purpose |  | Regulation failing to keep pace with innovation |  |  | Education, research, and the future workforce;
Other; | More than 20 years | Agree | Agree | Agree | Agree | Agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Reflecting on where fire engineering is,what direction is it heading towards and how regulation post-grenfell is affecting the sector | Agree | Neither agree nor disagree | Agree | Agree | Agree | If a design complies, it is safe | There is an over reliance on guidance which is often in need of review or outdated.If a design can improve on the min levels of code compliance it should be approved | Regulation failing to keep pace with innovation | Better funding to 3rd level research to allow theory to be tested and for findings to influence standards and guidance |  | Compliance versus genuine safety outcomes;AI, modelling, and digital innovation;Safety in existing and high-rise buildings;Climate resilience and emerging hazards; | Not learning from disasters and placing energy efficiency ahead of life/property safety
Fire engineer; | 5–10 years | Agree | Neither agree nor disagree | Agree | Strongly agree | Strongly agree | Agree | Weak ownership by dutyholders and fragmentation between professions | Most of the time, technical reviews and submittals lack quality (unfinished, inconsistent etc.), objectiveness and fail to communicate the actual questions or concerns. The review of technical submittals has been a way for system designers to shift responsibility under false pretenses of ensuring coordination or confirming a demonstrated performance aligns with the required performance. This should make designers (architects, MEP, facade designers, etc) and contractors uncomfortable. | Neither agree nor disagree | Agree | Strongly agree | Agree | Strongly agree | More analysis always produces better decisions | I don't think it's a question of where, but rather accepting that uncertainty exists and managing it. What level of uncertainty is tolerable? What is the possible impacts? Can you address it with conservatism, robustness and resiliency? Can you quantify the uncertainty? Can you address it with performance based design, with the drawback of reduced flexibility and onerous building use/management constraints? | Uncritical use of AI and automated design | Clarifying the limits of responsibility and expectation of each dutyholder along with regulating the profession. |  | Risk communication and public trust;AI, modelling, and digital innovation;Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Testing, product performance, and evidence;Regulation, enforcement, and dutyholder responsibility; | Inconsistency across the industry for competence/experience, delivery, responsibility and limitations.
Fire engineer; | 5–10 years | Agree | Strongly agree | Strongly disagree | Strongly agree | Agree | Disagree | Insufficient competence and poor communication of risk and uncertainty | Insufficient competence not only from within the fire engineering industry itself, but also in relation to the statutory bodies (i.e. Building Control), who would likely be uncomfortable to hear the belief that they sometimes appear to hide behind the shield of the statutory controls & approvals process and in the process they abdicate real competence, sound engineering judgement, and open deliberation. | Strongly agree | Agree | Agree | Strongly agree | Strongly agree | Guidance can substitute for competence | when it comes to the implementation of new technologies | Uncritical use of AI and automated design | national registry of qualified, competent fire safety engineers and other related individuals, along with a formal examination process to test and ensure competence. | Is the current regulatory framework actually making buildings safer or is it just reducing competitiveness at the altar of overregulation? | Competence, accountability, and professional judgement; | For reducing competitiveness in the built environment at a national level, and all the other second and third order effects that stem from that reduction in competitiveness (i.e. housing crisis).
Fire engineer; | More than 20 years | Strongly agree | Agree | Strongly agree | Strongly agree | Agree | Agree | Insufficient competence and poor communication of risk and uncertainty | The increasing distance between competence and position.The people who should be uncomfortable are those over-promoting people to keep people employed, whist presenting a false sense of seniority. Also, people masquerading as fire engineers who have rushed into the post-Grenfell gold rush. | Agree | Disagree | Agree | Neither agree nor disagree | Strongly agree | Guidance can substitute for competence | Performance of non-standard details which are materially the same as tested details. This current situation where some engineers are saying something is either tested and 100% unacceptable or not tested and therefore 100% unacceptable is ridiculous. The fact that people profiteer from reinforcing that position is unethical. | Loss of practical expertise and competence | Find a way to mandate or register competence with a strict pre-requisite of demonstrable academic achievement and (as important) demonstrable practical experience of being a fire engineer. | Do they consider practical, day to day experience of being a fire engineer on live projects is important when answering the question of what competence looks like? Do they consider that operating in the regulatory & commercial real world of fire engineering delivery is relevant to competence? If so, who do they intend to invite to the panel to represent that world? | Competence, accountability, and professional judgement;Testing, product performance, and evidence;Education, research, and the future workforce; | Either being a rag tag collection of people claiming to have expertise, but no way of demonstrating it (if the status quo remains), or allowing safety and proportionality to be sacrificed on the altar of supposed "compliance".
Fire engineer; | More than 20 years | Disagree | Agree | Agree | Agree | Strongly agree | Agree | Weak ownership by dutyholders and fragmentation between professions | There are a number (competence, real world safety based on sound principles for instance) but as outlined above, understand and complying with duties and working holistically is the biggest challenge. | Agree | Strongly agree | Agree | Neither agree nor disagree | Strongly agree | More analysis always produces better decisions |  | Failure of product testing and performance claims | System based testing with obligatory out field of application parameter for each to be followed to demonstrate performance. |  | Testing, product performance, and evidence;Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Safety in existing and high-rise buildings; | Demonstration of genuine competence and experience rather than just qualifications along with being siloed within the proffesion.
Fire engineer; | More than 20 years | Strongly agree | Agree | Disagree | Agree | Agree | Strongly agree | Insufficient attention to existing buildings | I am uncomfortable with 'over design' being seen as good design. Lack of fire engineering present in guidance, and over reliance on both committee driven standards and good fire engineering is leading to constant push for safety and compliance, not realising complication and over assessment on overtly safe buildings is wasting good consultancy time...fire engineering has become a cash cow, no longer a rising star. | Agree | Agree | Agree | Neither agree nor disagree | Agree | The current regulatory model is fundamentally fit for purpose | uncertainty.....all of fire engineering is founded on uncertainty. no one know for certain the future, but risk and understanding of it at a more fundamental level is needed. Risk free doesn't exist. Code and guidance dont provide have implicit risk within them. That hasn't been understood I dont believe. | Loss of practical expertise and competence | challenge the third party review systems we have which dont seem fair, competent or consistent. | Is reduction of the ~250 fire deaths a year in the UK get fairly reflected in the current regulatory framework and guidance? | Education, research, and the future workforce;Compliance versus genuine safety outcomes; | complication. One of the main reasons the Fire Safety Order was invented twenty years ago was to simplify and streamline fire safety. in twenty years from now we maywell see something similar again.
Fire engineer; | 5–10 years | Agree | Agree | Disagree | Agree | Strongly agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Very limited competency around non tested details in the industry | Neither agree nor disagree | Agree | Agree | Agree | Strongly agree | If a design complies, it is safe |  | Increasingly complex high-rise construction | Fire strategy principles being agreed earlier in the process | With the ever increasing pressure on fire engineers to justify why the guidance documents make certain recommendations, should guidance documents have appendices or linked documents which provide evidence/logic behind certain clauses (e.g. releasing committee notes, further reading etc...) | Competence, accountability, and professional judgement;Compliance versus genuine safety outcomes; | Lack of industry wide approach to an emerging technology (e.g. sustainable building materials)
Regulator; | 11–20 years | Strongly disagree | Agree | Strongly disagree | Disagree | Agree | Disagree | Insufficient competence and poor communication of risk and uncertainty | It is embarrassing moderating arguments between fire engineers in front of multidisciplinary teams. Too many people in our industry approach technical discussions as a contest to be won rather than a problem to be solved. The objective becomes proving someone else wrong, not working together to deliver safe buildings. Architects, contractors, and other specialists see this behaviour for exactly what it is, and it reflects poorly on the profession as a whole. | Strongly disagree | Strongly disagree | Disagree | Neither agree nor disagree | Strongly agree | Past fire performance predicts future performance | This is a fundamentally flawed question. No other engineering discipline tolerates uncertainty in the way that fire engineering often appears to. Structural engineers do not simply take a punt that a building will stand up. They quantify uncertainty through established methodologies, applying probability distributions to loads, material properties, and failure mechanisms, and then design within clearly defined and demonstrable safety margins. Yet in fire engineering, we frequently accept vague assertions, subjective judgement, and poorly defined performance objectives as though this is an inevitable consequence of the discipline. It is not. The issue is not that uncertainty exists. Every engineering discipline deals with uncertainty. The difference is that most disciplines have developed robust frameworks to quantify, manage, and communicate it. Fire engineering too often debates uncertainty rather than properly characterising it. Asking whether uncertainty exists misses the point entirely. The real question is whether we have adequately defined the sources of uncertainty, quantified their impact, and demonstrated that the resulting level of safety remains acceptable. That is what engineering should be doing. | Regulation failing to keep pace with innovation | One of the profession's biggest failings is its reluctance to hold individuals accountable when they repeatedly act in bad faith. There are fire engineers who consistently promote designs that they know sit at odds with the functional requirements of the Building Regulations, yet face little or no professional consequence when those designs receive approval. The metric of success becomes obtaining a sign-off rather than delivering a demonstrably safe building. In any mature engineering profession, repeatedly advancing weak, misleading, or indefensible technical arguments would quickly damage an individual's professional reputation. However, within fire engineering there can be a tendency to treat any approval as validation, regardless of the quality of the underlying engineering rationale. The profession should be far more willing to challenge poor practice, publicly reject unsound methodologies, and ensure that those who repeatedly demonstrate poor judgement are not regarded as credible technical authorities. Professional standing should be earned through technical competence, integrity, and sound engineering judgement, not through an ability to secure approval for marginal designs. If an engineer knowingly advances a solution that they do not genuinely believe satisfies the functional requirements, that is not engineering innovation or professional disagreement; it is a failure of professional ethics. The profession should have far less tolerance for such behaviour than it does today. | What is the worst example of professional conduct you have witnessed from another fire engineer/ fire engineering consultancy? | Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility;Risk communication and public trust; | Mass fatality incident in high rise timber building occurring in the next 20 years. Mass fatality incident in volumetric modular construction building occurring in the next 20 years. Mass fatality incident in nightclub fire with non compliant combustible linings that were never identified or addressed through RR(FS)O enforcement occurring in the next 20 years. Mass fatality incident caused by green wall external fire spread occurring in the next 20 years. Mass fatality incident caused by external fire spread due to fire retardants degrading in timber construction occurring in the next 20 years. Mass fatality incident caused by underground carpark fire causing structural collapse of high-rise buildings above occurring in the next 20 years. Regional environmental disaster from grid scale BESS fire occurring in the next 20 years.
Fire engineer; | More than 20 years | Disagree | Strongly disagree | Disagree | Agree | Disagree | Disagree | Over-reliance on rules-based guidance and mistaking compliance for safety | Over reliance on software and AI. This makes it easier for those who do not understand the fundamentals to design systems and not truly understand the outcomes. | Agree | Strongly agree | Agree | Agree | Agree | If a design complies, it is safe |  | Loss of practical expertise and competence |  |  | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;AI, modelling, and digital innovation; | Over reliance on AI
Fire engineer; | More than 20 years | Agree | Agree | Neither agree nor disagree | Neither agree nor disagree | Neither agree nor disagree | Agree | Insufficient competence and poor communication of risk and uncertainty | Probable overreliance on AI as an "emerging technology", whilst in reality it will perpetuate existing popular solutions rather than helping to develop innovative designs which will maintain public safety, | Agree | Agree | Agree | Strongly agree | Agree | New technology automatically improves safety |  | Uncritical use of AI and automated design | Require fire engineering competencies from the AHJs | Developing stricter guidelines on the use of AI in developing fire strategies and other technical reports. | AI, modelling, and digital innovation;Competence, accountability, and professional judgement;Compliance versus genuine safety outcomes;Safety in existing and high-rise buildings; | Overreliance on regulations has created largely unusable and unenforceable management strategies for residential buildings, resulting in increased financial burdens for the occupiers.
Fire engineer;Insurer; | More than 20 years | Agree | Agree | Agree | Agree | Agree | Agree | Insufficient competence and poor communication of risk and uncertainty | Too many risk engineers just look at compliance of sprinklers and dont look at other stuff | Agree | Neither agree nor disagree | Agree | Neither agree nor disagree | Agree | More analysis always produces better decisions |  | Uncritical use of AI and automated design |  |  | Compliance versus genuine safety outcomes;AI, modelling, and digital innovation;Testing, product performance, and evidence; | Just look at certificate, writing long descriptive reports whithout any conclusion about risk. Also, too much trials to make IA making assessment and recommendation so a risk of forgetting hidden but large risks.
Fire engineer; | More than 20 years | Agree | Agree | Agree | Strongly agree | Strongly agree | Strongly agree | Insufficient competence and poor communication of risk and uncertainty |  | Agree | Strongly agree | Strongly agree | Agree | Agree | More analysis always produces better decisions |  | Poor communication of risk to the public |  |  | Competence, accountability, and professional judgement; | ALL évents and critical fire have not taken into considération for futur politic fire Risk in important compagnies .
Developer or client;Academic or researcher; | More than 20 years | Neither agree nor disagree | Agree | Neither agree nor disagree | Agree | Agree | Neither agree nor disagree | Insufficient competence and poor communication of risk and uncertainty | Making the data and reports on fire incidence / outbreaks at critical facilities more readily available. | Neither agree nor disagree | Agree | Agree | Agree | Agree | The most visible risks are the most important risks | On the prediction and modelling of fire risk for novel critical facilities (which is not necessarily based on previous projects) | Uncritical use of AI and automated design | Enforcement of the routine fire safety checks needed for fire safety components within buildings / systems. |  | Regulation, enforcement, and dutyholder responsibility; | Fire engineering consultants are seen as a niche offering, and don't proactively promote an integrated approach to fire safety design related to actual facilities systems and their engineering system i.e. stating a scheme meets BS9999 but does not meet BS8519 (resilience) without getting into the discussion with building services engineers about how the resilience needs may impact the services system design.
Fire engineer; | 5–10 years | Agree | Agree | Neither agree nor disagree | Agree | Agree | Agree | Insufficient competence and poor communication of risk and uncertainty | If the people checking your "exercise" are not experts in the field, how can they have the right tools to actually do their work? | Neither agree nor disagree | Strongly disagree | Neither agree nor disagree | Neither agree nor disagree | Strongly agree | If a design complies, it is safe | How would more uncertainty lead to better decisions?! Evidence-based work is needed to demonstrate adequate controls have been put in place to manage/lower the fire risk - the opposite of uncertainty. | Uncritical use of AI and automated design | Have people that can demonstrate they have a deep understanding on fire safety science and engineering develop a baseline for what a fire engineer should have as a minimum, to meet the definition of what the profession requires. | Uncritical use of AI and automated design | Competence, accountability, and professional judgement;Regulation, enforcement, and dutyholder responsibility;Education, research, and the future workforce; | Using guidance as a way to tell people that a design is/was compliant, and not understanding whether the used guidance was actually fit for its purpose of use.
Fire engineer; | 11–20 years | Agree | Agree | Disagree | Strongly agree | Strongly agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety | There is a disconnect in the built environment supply chain where what is built is not what was designed and insurers are expected to accept the unacknowledged risk. | Agree | Agree | Strongly agree | Strongly disagree | Strongly agree | The most visible risks are the most important risks | Uncertainty cannot be tolerated. The "Unknown unknowns" are the most dangerous situations and the absence of curiosity is complicit in perpetuating poor performance. Engineering is about applying the best of science to economic advantage. That is why engineers are trained and continue to learn throughout their careers. | Uncritical use of AI and automated design | Give every fire engineer free (or very low cost) access to fire testing research and test results - with a good index (maybe even AI derived?). Let us all see what works and what doesn't. Include the economic costs of alternative solutions. | Who takes the responsibility for ignoring a fire engineers advice? | Competence, accountability, and professional judgement;AI, modelling, and digital innovation;Regulation, enforcement, and dutyholder responsibility; | Twenty years from now, today's fire safety engineering profession will be criticised for allowing the profession to disappear into a simulation that no one has substantiated.
Fire and rescue service;Student; | 11–20 years | Strongly agree | Agree | Agree | Agree | Strongly agree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | What is a firedrill today? And what should it be? | Agree | Strongly agree | Agree | Strongly agree | Strongly agree | If a design complies, it is safe | Describing risk based decision to occupants in FSP’s | Poor communication of risk to the public | Ensure training verifys competence and the outcome that would help save lives | How to explain risk to the public without increasing liability. We told them to help someone in a wheel chair and they died, it’s not your fault. | Compliance versus genuine safety outcomes; | The illusion of compliance
Fire engineer; | 11–20 years | Agree | Disagree | Disagree | Neither agree nor disagree | Agree | Agree | Insufficient attention to existing buildings | Documentation has increased, but scrutiny has reduced. I also think the push for accountability has overcorrected. It has created what might be called a “future blame network”, which encourages defensive design. One result is that detailed design information is routinely sent to fire engineers “for approval”, even though most fire engineers do not have the competence to design or comment on those details. In effect, it becomes a way of diffusing responsibility: “the fire engineer was sent the information, so it is approved and they share responsibility with me.” | Strongly agree | Neither agree nor disagree | Neither agree nor disagree | Agree | Strongly agree | The current regulatory model is fundamentally fit for purpose |  | Large-scale refurbishment of existing buildings |  |  | Compliance versus genuine safety outcomes; | The desire to improve safety has led to an overemphasis on paternalistic practices, on documenting who to blame when things go wrong, and on demonstrating competence as a blunt tool. This approach does not fully recognise that competent people still make mistakes. It also overlooks how behavioural and process issues can explain why many things happen. Often, failures arise not from negligence but from real constraints on decision making.
Fire engineer; | 11–20 years | Agree | Agree | Agree | Agree | Agree | Agree | Weak ownership by dutyholders and fragmentation between professions |  | Agree | Agree | Strongly agree | Strongly agree | Strongly agree | The current regulatory model is fundamentally fit for purpose |  | Uncritical use of AI and automated design |  |  | AI, modelling, and digital innovation; | Lack of international association across all nations
Fire engineer; | 5–10 years | Strongly agree | Strongly agree | Neither agree nor disagree | Strongly agree | Strongly agree | Strongly agree | Over-reliance on rules-based guidance and mistaking compliance for safety | Its easier working on technical projects abraod than the UK as people like to hide behind standards, even though the science disproves having certain systems will pick up on the smoke, due to the nature off it and we are not allowed to question and disprove standards and guidance, due to the risk adverse approach, that why you build cars and design them abroad or even power projects | Strongly agree | Strongly agree | Strongly agree | Strongly agree | Strongly agree | More analysis always produces better decisions | Power stations, ROBOTICS, manufacturimg, ships war ones especially, battery and semi-conductor manufacturing | Loss of practical expertise and competence | Been able to challange risk assessment, not compenet as they think my Masters is now a joke and only one way to do fire risk assessments, using industy guidance, which challanges the persepictive approach is now bad |  | Climate resilience and emerging hazards;Regulation, enforcement, and dutyholder responsibility;Testing, product performance, and evidence;Education, research, and the future workforce; | lack of innovation and not taking advantage of modern tech to challenge the perscriptive approach
Other; | More than 20 years | Strongly agree | Agree | Agree | Strongly agree | Neither agree nor disagree | Agree | Insufficient competence and poor communication of risk and uncertainty | Lack of differentiation in recognition and application between qualified professional engineers and technicians working in the fire safety sector | Strongly agree | Agree | Agree | Strongly agree | Strongly agree | Guidance can substitute for competence | There is no simple answer to this. At the moment there is too much emphasis on compliance with regulations rather than a deep understanding and use of engineering methods. Codes are full of subjective guidelines that are not substantiated by evidence or calculation. There is a gulf between those working with testing/empirical-data and those using engineering methods, specifically computer aided methods. This is not the case in other sectors in engineering and should not be so in fire engineering. | Failure of product testing and performance claims | Improve competence, with people expanding there skills, but working within their skill-sets and respecting skill-sets of others. | How competence will be achieved without red tape or compromise. | Competence, accountability, and professional judgement;Compliance versus genuine safety outcomes;Education, research, and the future workforce; | Lacking in competence, pragmatism, consistency and cohesion.
Academic or researcher;Fire engineer; | More than 20 years | Strongly agree | Agree | Disagree | Agree | Agree | Agree | Over-reliance on rules-based guidance and mistaking compliance for safety |  | Disagree | Disagree | Agree | Agree | Strongly agree | New technology automatically improves safety |  | Uncritical use of AI and automated design |  |  | Competence, accountability, and professional judgement; | N/A
Other; | More than 20 years | Neither agree nor disagree | Neither agree nor disagree | Neither agree nor disagree | Agree | Agree | Disagree | Insufficient competence and poor communication of risk and uncertainty | Why environmental assessments - LCAs etc - exclude the probability of fire and impact thereof. | Agree | Neither agree nor disagree | Agree | Neither agree nor disagree | Agree | Guidance can substitute for competence |  | Loss of practical expertise and competence | Keep attracting talent to this industry. Empower the young, formalize a mentorship programme. | How is the changing environment - and climate - affecting how we can respond, or mitigate the need to respond. | Compliance versus genuine safety outcomes;Competence, accountability, and professional judgement;Education, research, and the future workforce; | Why did you not have proven competence sooner.